## Instructions
User Instructions - Method Readiness Criteria Questionnaire
Please scroll down to read all instructions before completing this questionnaire. Responses will be used to assess the readiness of a method for formal validation and to identify any gaps requiring resolution prior to proceeding.
Completing the Developer Questionnaire
Page 1 of 3
Page 2 of 3
User Instructions
Page of 3
Questionnaire Structure
The questionnaire workbook contains the following tabs:
Instructions Review all instructions before beginning the questionnaire. Provides an overview, step-by-step completion guidance, and resource links. Be sure to scroll down to view all content.
Developer Questionnaire This is the only tab that requires user input. Complete all questionnaire responses and click on headers for supporting information.
Summary
No user input required. Provides a summary of submitted responses. Following submission, internal reviewers will assess method readiness and provide comments and contact information.
Navigate to the Developer Questionnaire Tab Click the Developer Questionnaire tab at the bottom of the workbook to open the questionnaire.
Step 1
If additional information is not applicable, enter "NA" or leave the placeholder text unchanged.
Step 3
Supporting Information
Use the Supporting Information column to provide additional details when needed. If your response references published work, include enough information (e.g., DOI) so reviewers can easily locate the manuscript.
Tip: Reference the Additional Context for Questions column to guide your responses.
Final Review and Submission
Before submitting the completed questionnaire, please:
Step 4
● Confirm that a selection has been made for every question requiring a dropdown response
● Ensure that all applicable text-entry response fields have been completed
● Confirm that all Method Developer information is complete and accurate
● Review Summary tab to confirm that all information is complete, accurate, and displayed as intended
Once the review is complete, submit the .xlsm file via email to Carter.Janet@dol.gov with the subject line Method Readiness Criteria Submission
● Save the completed questionnaire in .xlsm format with a descriptive file name (e.g., OrganizationName_MethodName.xlsm)
How to Enter Responses Responses may be selected from dropdown menus or directly entered for each question. Cells requiring user entry are highlighted in yellow.
For dropdown responses:
For text-entry responses:
● Locate the dropdown cell in the Response column
● Click the cell to activate it
● Click the dropdown arrow to view options
● Enter the requested information directly into the designated cell
● Cells for text entry are identified by bracketed placeholder text
● Replace the placeholder text with response
● Select the option that best reflects your answer
● Cells are limited to 1000 characters unless otherwise noted
Step 2
Data entry: Only select responses from the provided dropdown menus. Do not type into dropdown cells, modify dropdown options, or alter any workbook formatting.
Who completes this questionnaire?
The developer or another individual with extensive knowledge of the development, technical, and regulatory aspects of the method.
Allow adequate time:
The questionnaire should be completed carefully. Incomplete, inaccurate, or missing responses may delay the review process.
One questionnaire per method: Complete a separate questionnaire for each method being evaluated.
Before You Begin
Completing the Developer Questionnaire
Complete Method Developer Section
Task Status
The Task Status is automatically assigned based on the selection made in the Response column. It reflects the completion status of the method criteria tasks associated with each question. It does not indicate whether the question itself has been answered.
● Not Applicable (NA) — The selected response indicates that the associated tasks are not applicable.
● Not Completed — One or more associated tasks have not been completed, or no response has been selected. If a response is left blank, the associated tasks are assumed to be incomplete until a response is provided.
● Completed — All tasks associated with the question have been completed.
Task Status is independent of question completion A task marked Not Completed does not necessarily indicate an incomplete questionnaire submission. It is used to help reviewers identify potential gaps in method development or areas where additional information may be requested.
Complete All Questions
Incomplete questionnaires may be returned to the developer and/or delay the review process. The questionnaire can be reset at anytime by clicking the yellow Reset button at the top of the worksheet. Make sure that Macros are enabled.
WARNING: Clicking the Reset button permanently deletes all entered responses and restores the questionnaire to its original blank state. This action can not be undone. We recommend saving the completed or partially completed form before resetting.
Section 1. Method Developer This information will be used for correspondence related to the questionnaire, including requests for clarification, additional information, or updates regarding your submission.
Section 2. Test Method Definition / Description This information will be used to develop a high-level understanding of the method under review.
The Test Method Description should summarize all applicable elements:
All responses including a clear description of the method's test system, protocol, and prediction model (if applicable) must be completed for these sections. Failure to provide this information will result in an incomplete submission and may delay review.
(i) Test System
(ii) Protocol
(iii) Prediction Model
Click link buttons for direct access to supporting resources.
The designated Point of Contact will serve as the primary liaison for all communications regarding the method and questionnaire submission.
Select response from dropdown menu
Replace placeholder text with response

## Developer Questionnaire
| Method Readiness Criteria Questionnaire |  |  |  |  | CAUTION: Resetting will clear the entered information and cannot be undone. We recommend saving a copy of the completed or partially completed form before proceeding.
Complete all fields below using the drop-down menus or by entering your response directly into the cell. Refer to the “Definition of Criteria” and “Additional Context for Questions” columns for guidance. “Essentiality” identifies the stage (i.e., before validation, at or during transfer, and at peer review) of validation associated with each criteria category.
Response Status | QUESTION Grouped by Overarching Criteria Category | RESPONSE Dropdown Selection | SUPPORTING INFORMATION Free-text Entry | Additional Context for Questions Reference Only ¦ No User Input | TASK STATUS Automated
1. Method Developer
Not Answered | Organization Name | [organization name]
Not Answered | Organization Address | [full mailing address including street address, city, state/province, postal code, and country]
Not Answered | Point of Contact (POC) | [poc name]
Not Answered | Phone Number | [poc phone number]
Not Answered | Email Address | [poc email]
Not Answered | Submitted By | [name of individual submitting questionnaire]
Not Answered | Date Submitted | [date questionnaire submitted]
2. Test Method Definition/Description:
| Definition of Criteria | A test method is usually composed of three elements: (i) test system, (ii) protocol, and (iii) prediction model, where applicable
Not Answered | Test Method Name | [method name]
Not Answered | Test Method Description | [provide a brief description of the test method and its elements]
3. Availability/Accessibility and International Consistency of Test Method Components
| Definition of Criteria | Test method components refer to biological material, plastic ware, instruments, reagents, culture media, protocols that are needed to perform the experimental procedure of the test method. The test method and/or its components can be commercially available or require agreements (e.g. material transfer agreement or licensing agreement).
| Essentiality | Before Validation
Not Answered | Have method components been defined? List components. |  | [list components] |  | Not Completed
Not Answered | Has the test system, cell type, platform, etc. been defined? List. |  | [list test system, cell type, platform, etc.] |  | Not Completed
Not Answered | Are method components available, accessible and consistent across geographic regions? Specify whether there is an IP involved. |  | [specify if there is an IP involved] | Essentiality: Before Validation This question applies to all aspects of the test method. Special attention should be drawn to availability of chemicals (controls and reference items), materials, reagents, test systems across countries and jurisdictions. International Consistency can be checked by asking the manufacturer. | Not Completed
Not Answered | Has the test method been optimized? |  | [add supporting information, as needed] | Essentiality: Before Validation | Not Completed
4. Intellectual Property
| Definition of Criteria | The test method and/or its components can be covered by intellectual property rights (IPR) such as a trademark or patent.
| Essentiality | Before Validation
Not Answered | Is the method or components covered by an IPR? What are the plans to make the test method available to the public? |  | [specify plans to make the test method available to the public] | OECD 298 Guiding Principles on Good Practices for the Availability/Distribution of Protected Elements in OECD Test Guidelines. Click to go to OECD Document " | Not Completed
5. Test System
| Definition of Criteria | The test system is the biological/chemical system that is exposed to the test items to obtain experimental data.
| Essentiality | Before Validation
5a. Basic information and quality control
Not Answered | Is the following information available: • supplier information and contact details • unique identifier (e.g., cell registry identifier, CASRN, RRID) |  | [specify information that is currently unavailable] | RRID = Research Resource Identifier | Not Completed
Not Answered | IN CHEMICO TEST SYSTEMS ONLY Is the following information available: • purity • compatibility with assay system |  | [list additional key information that is currently available or needed in the future] |  | Not Completed
Not Answered | CELL-BASED SOURCE MATERIAL Is the following information available, if applicable: • cell authentication • viability • genetic stability • mycoplasma testing • sterility testing (bacteria, virus, fungi) • primary donor cell/tissue (sex, age, health status) • cell/tissue of origin • isolation technique (primary cells) • differentiation status (hiPSCs and derivatives, primary cells) • morphology • cell-type specific marker expression • functional assessment (e.g., pluripotency, assessment for hiPSC) • mechanistic compatibility |  | [list applicable items and the status of information availability for each] | Source refers to the starting material used for the test system. It is good practice to authenticate cells on a regular basis and check their genetic stability (e.g., for each cell bank that is used for key studies). Sterility and mycoplasma testing should also be done periodically. | Not Completed
Not Answered | CELL-BASED TEST SYSTEMS THAT ARE DIFFERENT FROM THE ORIGINAL SOURCE Is the following information available, if applicable: • cell authentication • cell viability • cell genetic stability • mycoplasma testing • sterility testing (bacteria, virus, fungi) • type and method used for genetic modification (transgenic cells, clones) • reprogramming technique (hiPSC) • morphology • cell-type specific marker expression • compatibility testing of test system supplies • mechanistic compatibility |  | [list applicable items and the status of information availability for each] |  | Not Completed
5b. Characterization of test system that is used in the actual experiment
| Definition of Criteria | Characterization refers to the phenotypic and functional characterization of the test system, and is case-specific. Case 1 - When the test system that is used for the test method (exposure to the test items) is the same as the test system source, characterization is done on the starting material. Case 2 - When the test system that is used for the test method is different from the test system source, this characterization is done on the final test system. For example, if the source is hiPSC and the final test system exposed to the test item is an HPSC-derived neuron, then characterization would be done on the HPSC-derived neuron.
Not Answered | Is the test system well-defined and characterized, with decision criteria on usability of the test system at delivery, prior to exposure, following exposure? |  | [specify primary analytical methods and LODs and provide citation if available] | Essentiality: Before Validation Biological feature is for example specific cell type marker. Biological response is for example the expression of a protein after exposure to a test item. | Not Completed
Not Answered | Are the biological features maintained over time?? |  | [list all technical artifacts and how each is mitigated] | Over time may refer to cell passages, independent biological experiments, etc. | Not Completed
Not Answered | Is the functionality consistent over time (e.g., through reference and control items)? |  | [specify precision metric and provide citation if available] | A wild-type cell is the cell without a genetic modification. It is used to show that the genetically modified cell line has the required functionality and the wild type cell doesn’t. | Not Completed
5c. Acceptance criteria for the test system
| Definition of Criteria | Acceptance criteria are qualitative and quantitative requirements for the test system to be used in the method.
Not Answered | Have acceptance criteria been defined for the test system before compound exposure? List acceptance criteria and include publication information, if available. |  | [list acceptance criteria and include publication information, if available] | Examples of acceptance criteria include minimum concentration, density, cell viability, activity/functionality, cell marker expression, negative for mycoplasma and/or other microbial contaminants, free of genetic abnormalities, correct cytoarchitecture, etc. Batch release information from the supplier may be used as acceptance criteria. | Not Completed
5d. Metabolic competence
| Definition of Criteria | Metabolic competence refers to the capacity of the test system to metabolize test items
Not Answered | Has the endogenous metabolic competence of the test system been characterized? Specify whether the test system includes a metabolic component. |  | [specify whether the test systems includes a metabolic component] | It is important to know the metabolic competence of the test system because there are test items that can be metabolized into more or less active forms. Usually the expression and activity of phase I (e.g. CYP450) and phase II (e.g. UGT, SULT) enzymes are checked. | Not Completed
6. Control and Reference Items
| Definition of Criteria | Control items are used to assess that the test system responds consistently across experiments and time. Eventually control items are used to establish the maximum response by the test system for data normalization. At minimum, a test method should contain a positive, negative, and/or vehicle control. A method could also include one or more reference items. See OECD Guidance Document on Good In Vitro Method Practices (GIVIMP). Click to go to OECD document "
| Essentiality | Before Validation
Not Answered | Have positive and negative controls been defined and characterized? What are the positive, negative, and/or vehicle controls? |  | [specify positive, negative, and/or vehicle controls and the characterization status of each, if available] | Essentiality: Before Validation Controls need to be well-characterized with respect to their physical chemical properties and variability in response by the test system. Chemicals used as controls should be stable during storage, handling, and testing. For example, controls should not be volatile, oxidized, reactive with water, etc. Unstable or reactive chemicals could increase variability in results within and between laboratories. | Not Completed
Not Answered | Is the selection of the positive, negative, and vehicle controls justified? |  | [add justification for the selection of each control] |  | Not Completed
Not Answered | Are any of the positive, negative, and/or vehicle controls potentially hazardous? If yes, list hazards for each control. |  | [add potential hazards for each control, as applicable] | Hazards of the control items should be known. It is recommended that extremely hazardous chemicals, persistent organic pollutants, and other test items are avoided where possible. | Not Completed
Not Answered | Are positive, negative, and/or vehicle controls performed with every test and included during each testing? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Has the solubility and potential precipitation of each test item/substance been evaluated over time? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | TEST SYSTEMS WITH PRESERVED METABOLIC ACTIVITY Do positive controls include haptens and/or pre-haptens? |  | [specify haptens and pre-haptens, as applicable] |  | Not Completed
7. Acceptance Criteria for Results
| Definition of Criteria | Acceptance criteria are typically limits set for the maximum/minimum response or ranges within which the test systems response should fall, to confirm the correct functioning of the test system and validity of experiments and test results. Acceptance criteria can be established when sufficient historical data have been generated with the test method and its controls.
| Essentiality | At or During Transfer
Not Answered | Have acceptance criteria for results been defined? |  | [specify acceptance criteria] | Acceptance criteria may be established for the response of the test system after exposure to reference and control items, for background response, for dynamic range and variability of replicate measurements. | Not Completed
Not Answered | Are acceptance criteria defined for dynamic range? |  | [add supporting information, as needed] | The dynamic range of a method is the difference between maximum and minimum response of the test system (usually response to solvent control and highest concentration of the reference item). | Not Completed
Not Answered | Are acceptance criteria based on normalized data? |  | [add supporting information, as needed] | Acceptance criteria are usually set using normalized data. | Not Completed
Not Answered | Are periodic evaluations of the test system performed? |  | [specify how often evaluations are performed] |  | Not Completed
Not Answered | Have cell viability criteria been established? |  | [specify viability criteria] |  | Not Completed
Not Answered | Are negative controls within the historical parameters for the test system? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Are positive controls based on a relative increase versus the positive control based solely on statistical trends? |  | [add supporting information, as needed] | Essentiality: At or During Transfer | Not Completed
8. Identification of Critical Steps and/or Key Sources of Variability
| Essentiality | Before Validation
Not Answered | Have critical steps (that may influence the results) and sources of variability been identified? |  | [specify whether a graphical workflow of the test method is available] | Essentiality: Before Validation The overview of the method is ideally presented with a graphical workflow showing a complete sequence of events including endpoint assessment and prediction model/data interpretation procedure application. | Not Completed
Not Answered | Has batch-to-batch variability been assessed for any of the test methods? |  | [list components with batch-to-batch variability data] |  | Not Completed
Not Answered | Could the batch variability for any of the test method components (e.g., microsomes, antibodies, serum) impact the test results? If yes, how is this variability addressed? |  | [specify how batch variability is addressed] |  | Not Completed
9. Detailed Protocol and Standard Operating Procedures (SOP)
| Definition of Criteria | A detailed protocol includes a method description, consumables, chemicals, reagents and equipment needed to perform the method, a detailed description of the experimental procedure, and a procedure for data analysis, calculation of results and reporting. A detailed protocol should be test facility independent, to the extent possible, to facilitate its transfer to other laboratories, e.g. equipment that is not critical should be described in general terms in the protocol to allow different facilities to use different equipment to make the same measurements. Critical steps should be clearly identified and thoroughly described. A test facility should then define a set of Standard Operating Procedures (SOPs) implementing the detailed protocol in its specific environment.
| Essentiality | Before Validation
Not Answered | Is there a detailed protocol for the test method? |  | [add supporting information, as needed] | Essentiality: Before Validation The overview of the method is ideally presented with a graphical workflow showing a complete sequence of events including endpoint assessment and prediction model/data interpretation procedure application. | Not Completed
Not Answered | Are the following points of method descriptions covered: • principle of the method and overview of procedural steps to perform the complete method • scientific rationale for the selection of the endpoints • known limitations and possible interference with test results • key references |  | [specify points that are not currently covered] | For the controls it is important that the protocol is clear about their identity and why they are included. | Not Completed
Not Answered | Are the following points related to consumables, chemicals, reagents specified: • specific requirements; preparation, storage and shelf life of freshly prepared reagents/solutions • CAS numbers of chemicals and procedure for preparation, storage and quality control of reagents • unique identifier and catalogue numbers / supplier information for all consumables, chemicals and reagents • positive and negative control items and any other controls • preparation of stock and work solutions of control (and reference) items • acceptable solvents and their maximum concentrations • detailed description for the preparation of the test system for use in the method • composition of medium / reagents for test system maintenance • information on routine maintenance and handling of the test system; purity information |  | [specify points that are not currently covered] | Example of test system description and functioning: U2OS cells genetically modified to express the human androgen receptor and a luciferase reporter gene. Chemicals binding to and activating the receptor will initiate luciferase production in the cells. During incubation, luciferase will transform luciferin into oxy-luciferin and light that can be measured with a luminescence plate reader. For example, maintenance of a cell-based test system includes basic cell culture procedures, storage conditions (e.g. freezing temperature), culture conditions (e.g. incubation temperature, CO2 concentration, humidity).Example of equipment specifications: The equipment should have specific filters, lasers, injectors etc. Examples of instrument qualifications / validation of analytical procedures are found in Annex 4 in TG 439 and Annex 7 in TG 492. Click to go to Test Guideline (TG) " | Not Completed
Not Answered | TEST SYSTEMS USING FLOW CYTOMETRY Are single stained and unstained cells used as control with each test run? |  | [add supporting information, as needed] | Preparation of the test system for use in the method refers to the creation (from the original source material) of the test system as then used in the method (e.g. dilution, differentiation of cells, preparation of microtissues, etc.). Examples of preparation of a test system: • hiPSCs constitute the original cell source that must be "prepared", i.e., differentiated to neurons. The neurons are the actual test system. • a sub-cellular fraction might need dilution before use on basis of protein concentration or activity Components of media, such as serum, pH indicators, proteins, hormones etc. can influence the test system performance and should be known. | Not Completed
Not Answered | Are the following points described in detail in the experimental procedures, if applicable or established? • procedure for selection of the solvent • procedure for selection of the test item dose range, including solubility and cytotoxicity testing (where applicable) • requirements for the generation of proper dose-response information (where applicable) • highest concentration to be prepared (when soluble) • procedure for preparation of test items for application to the test system • procedure for preparation and testing of control (and reference) items • experimental layout, including all controls, number of technical • replicates per concentration • procedure for exposure/dosing • duration of exposure • incubation conditions (temperature, humidity, CO2 concentration) • acceptable ranges for e.g. exposure time, incubation temperature and other variables • procedure and conditions for measuring the endpoint and acquiring data |  | [specify points that are not currently described or established] | For the controls it is important that the protocol is clear about how the results should be used. Biological replicates are experiment performed on different time points, with freshly prepared test system (e.g. new solution, different passage number, different batch) and solutions. | Not Completed
Not Answered | Are the following points described in detail for data analysis, calculation of results and reporting? • raw data to be recorded • description of eventual software to be used for data analysis, including its version • procedure for processing data from control, reference and test items, including all the necessary equations and calculations (e.g. dose response equation, EC or IC values) • acceptance criteria for experiments and test results • number of biological replicates needed to derive a result/prediction • data interpretation procedure / prediction model (if applicable) • a detailed statistical analysis plan (if applicable) • procedure for reporting of results |  | [specify points that are not currently described, including whether a detailed statistical analysis plan is established] | For the controls it is important that the protocol is clear about how they should be prepared. Technical replicates are the number of replicates per test item concentration within the same experiment. An acceptable range for incubation time could be for example 20h +/- 1h. The procedure for performing the method could also include any procedure to be performed prior to the test to verify that the experimental setup is consistent with historical data, e.g. periodically run an iodide standard curve to confirm the correct functioning of the Sandell Kolthoff reaction. | Not Completed
10. Data Management, Evaluation, and Interpretation
| Essentiality | Before Validation
10a. Data management
Not Answered | Is documentation or recommendations on data formats provided? |  | [add supporting information, as needed] | Raw data are the data as obtained from the instrument and/or operator. Example: Providing proper metadata for image acquisition and analysis optimize data sharing, comparison and interpretation, and re-usability | Not Completed
Not Answered | Are open standards used to store data? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Are data stored according to FAIR standards? |  | [add supporting information, as needed] | Example: Depositing omics based data in a data repository (e.g., Gene Expression Omnibus (GEO)) Click to go to website " | Not Completed
Not Answered | Is there a standardized format for collecting data (e.g. a validated spreadsheet, calculator, etc.)? |  | [add supporting information, as needed] | OECD Omics Reporting Framework (OORF): Guidance on reporting elements for the regulatory use of omics data from laboratory‑based toxicology studies. Click to go to OECD Document " | Not Completed
Not Answered | Are all data produced for test, control and reference items, from both valid and non-valid tests / runs / experiments recorded? |  | [add supporting information, as needed] | Non-valid tests / runs / experiments are those that do not meet the test method’s acceptance criteria. | Not Completed
Not Answered | Is there a protocol for handling equivocal results? |  | [add supporting information, as needed] |  | Not Completed
10b. Data processing
Not Answered | DOSE-RESPONSE DATA Is there a detailed procedure for curve-fitting? |  | [add supporting information, as needed] | Typically an excel template is prepared for the collection and automatic calculation of results from the raw data. These templates should be properly validated before use to ensure their correct output and to avoid uncontrolled modifications | Not Completed
Not Answered | Is there a method for outlier analysis? |  | [specify method] | Typically an excel template is prepared for the collection and automatic calculation of results from the raw data. These templates should be properly validated before use to ensure their correct output and to avoid uncontrolled modifications | Not Completed
10c. Prediction model (PM) / data interpretation procedure (DIP)
Not Answered | Is there a PM/DIP to decide if a test item is active/positive or inactive/negative for the mechanistic endpoint(s) covered by the method? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Is there a PM/DIP to predict a regulatory endpoint from the collected data? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Is there a clear cut-off for positive results? |  | [add supporting information, as needed] |  | Not Completed
11. Test Method Reliability, Reproducibility, and Repeatability
11a. Training
| Essentiality | At or During Transfer
Not Answered | Has a training protocol been developed? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Have other labs (excluding developer lab) been trained? |  | [specify points that are not currently covered] |  | Not Completed
11b. Chemicals / test item selection for reliability assessment
| Essentiality | At Peer Review
Not Answered | Is the number of chemicals used for assessing between lab reproducibility (BLR) and within lab reproducibility (WLR) justified and adequate? |  | [include justification for chemical number] | The number and type of chemicals used for training, transferability and the assessment of reproducibility depends e.g. on statistical considerations (e.g. power calculations), representativeness of phys-chem properties and difficult to test chemicals. Chemical selection should ensure that critical parts of the protocol are covered during training, transferability and reproducibility assessment (e.g. chemicals that interfere with the endpoint measurement and for which corrective measures are described in the protocol). The use of the same chemicals in different phases of test method development and validation, as described below, should be avoided to the extent possible: 1.Chemicals used for developing and optimizing the test method (protocol and prediction model) should not be selected for assessing its within-laboratory reproducibility, between-laboratory reproducibility and predictive capacity. 2. Different chemicals should be used for: • training laboratories on the test method, • assessing the transferability of the test method to other laboratories and, • assessing the test method's within-laboratory reproducibility, between-laboratory reproducibility and predictive capacity | Not Completed
11c. Transferability
| Essentiality | At Peer Review
Not Answered | Has transferability been demonstrated in at least one lab (excluding developer lab)? |  | [add supporting information, as needed] | The transferability of the method should be assessed before between lab reproducibility (BLR). This is typically done first by checking that the acceptance criteria of the method can be met by the transfer laboratory, followed by the testing of test items for which the method developer has historical data. | Not Completed
11d. Within lab reproducibility (WLR)
| Essentiality | Before Validation
Not Answered | Has reproducibility within the lab been demonstrated? |  | [add supporting information, as needed] |  | Not Completed
11e. Between lab reproducibility (BLR)
| Essentiality | Before Validation
Not Answered | Has reproducibility within a qualified lab been demonstrated? |  | [add supporting information, as needed] | BLR data could be obtained from multiple transferability studies rather than a single ring trial study. A qualified laboratory is one that has proven proficiency in performing the test method as determined through training and transferability. | Not Completed
11f. Repeatability of Control and Reference Items
| Definition of Criteria | Repeatability refers to the extent to which the test system models or reproduces the biological properties of target organ / system or species of interest (e.g. mechanism of action, cell types, cyto-architecture) in view of current scientific knowledge.
| Essentiality | Before Validation
Not Answered | Has reproducibility between labs been demonstrated? |  | [add supporting information, as needed] | It is recommended to keep all historical data, so that robust acceptance criteria can be developed and updated. | Not Completed
12. Test Method Relevance
12a. Biological relevance of the test system
| Definition of Criteria | Biological relevance relates to the extent to which the test system models or reproduces the biological properties of target organ / system or species of interest (e.g. mechanism of action, cell types, cyto-architecture) in view of current scientific knowledge.
| Essentiality | Before Validation
Not Answered | Is the method relevant to humans? How? |  | [describe human relevance] |  | Not Completed
Not Answered | Is the exposure pathway considered? |  | [specify exposure pathway] |  | Not Completed
12b. Mechanistic relevance of the endpoint(s) measured
| Definition of Criteria | Mechanistic relevance to the extent to which the endpoints measured relate to an adverse outcome pathway (AOP), or to known mechanisms of toxicity / perturbation of important biological processes that lead to an adverse effect
| Essentiality | Before Validation
Not Answered | Is the mechanistic pathway addressed by the test method defined? |  | [specify the mechanistic pathway addressed] |  | Not Completed
Not Answered | Are respiratory sensitization-specific markers or characteristics included in the response model? |  | [specify specific markers or characteristics] | In order for a mechanistic endpoint to be considered relevant, there should be a sufficient amount of test items that trigger the endpoint in the method. | Not Completed
12c. Regulatory relevance
| Definition of Criteria | Regulatory relevance is based on the degree to which the biology covered by the test system and the mechanisms covered by the measured endpoints are relevant to address a regulatory concern.
| Essentiality | Before Validation
Not Answered | Are the biology and mechanisms covered by the test method relevant to address a regulatory concern? |  | [add supporting information, as needed] |  | Not Completed
12d. Regulatory use / application
| Definition of Criteria | Regulatory use / application is based on whether the information provided by the method has a clear regulatory application, i.e. it satisfies an existing regulatory requirement either stand alone or in combination with other information sources via a defined approach or an integrated approach to testing and assessment.
| Essentiality | Before Validation
Not Answered | Is the test method meant to be used with other methods or an Integrated Approaches to Testing and Assessment (IATA)? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | What is the purpose or use of model results? |  | [add supporting information, as needed] |  | Not Completed
12e. Chemical / test item selection for relevance assessment
| Essentiality | Before Validation and At Peer Review
Not Answered | Are reference chemicals selected for the test method? If yes, specify why these chemicals were selected and the evidence behind each. |  | [specify why reference chemicals were selected and the evidence behind each] |  | Not Completed
Not Answered | Are adequate reference chemicals provided to demonstrate correct detection / discrimination of respiratory sensitizers, respiratory irritants, and dermal sensitizers? |  | [add supporting information, as needed] | The number of chemicals used for the assessment of predictive capacity depends on the purpose of the method (e.g. stand alone, combination with other methods), on the availability of reference data and on statistical considerations (e.g. power calculations). | Not Completed
Not Answered | Have chemicals for relevance assessment been justified? |  | [add supporting information, as needed] |  | Not Completed
13. Predictive Capacity
| Definition of Criteria | Predictive capacity refers to the ability of the test method to make correct predictions of an (toxic) effect of interest. It includes accuracy, specificity and sensitivity of the method.
| Essentiality | At Peer Review
Not Answered | Has the predictive capacity of the test method been demonstrated? |  | [add values for accuracy, specificity, and sensitivity, if available] |  | Not Completed
14. Limitations and Applicability Domain
| Definition of Criteria | The applicability domain is a description of the physicochemical or other properties of the substances for which a test method is applicable for use. For a test method it is mainly defined by its known technical, mechanistic and predictive limitations.
| Essentiality | At Peer Review
Not Answered | Has the test method's limitations and applicability domain been described? |  | [add supporting information, as needed] | Example: a mechanistic limitation is known for KeratinoSens and LuSens test methods where chemicals that purely act through lysine haptenation are outside the applicability domain. | Not Completed
15.Uncertainties
| Essentiality | At Peer Review
Not Answered | Are there any uncertainties in the test method or its predictions? |  | [add supporting information, as needed] | Example: gaps in biological knowledge, relevance and variability of reference data, differences between the test system and the mimicked human or wildlife tissue, interspecies differences including kinetics, limited mechanistic coverage. | Not Completed
16. Data Integrity and Quality Assurance (information is not needed at this time)
End of Questionnaire
Click to reset questionnaire
Test Guideline 439
Test Guideline 492
OECD 298
OECD Framework
NCBI GEO
GIVIMP

## Summary
Method Readiness Criteria Summary
INTERNAL USE ONLY. To be completed by internal reviewers only.
METHOD DEVELOPER |  |  |  | READINESS STATUS |  |  | Summary of Developer Responses | Count
Organization Name: | [organization name] | Point of Contact : | [poc name] | FALSE | Ready to Proceed |  | Answered | 0
Organization Address: | [full mailing address including street address, city, state/province, postal code, and country] |  |  |  | All critical criteria are met. Method is ready to proceed. |  | Not Answered | 76
|  | Phone Number: | [poc phone number] | FALSE | Conditionally Ready
Submitted by : | [name of individual submitting questionnaire] | Email Address: | [poc email] |  | Minor gaps have been identified. Method can proceed after gaps have been addressed. |  |  | Section
Date Submitted: | [date questionnaire submitted] |  |  | FALSE | Not Ready Significant gaps identified requiring further method development and resubmission. |  | Status | 3. Availability/Accessibility and International Consistency of Test Method Components | 4. Intellectual Property | 5. Test System | 6. Control and Reference Items | 7. Acceptance Criteria for Results | 8. Identification of Critical Steps and/or Key Sources of Variability | 9. Detailed Protocol and Standard Operating Procedures (SOP) | 10. Data Management, Evaluation, and Interpretation | 11. Test Method Reliability, Reproducibilty, and Repeatability | 12. Test Method Relevance | 13. Predictive Capacity | 14. Limitations and Applicability Domain | 15.Uncertainties
[7 empty] | Completed | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
[7 empty] | Not Completed | 4 | 1 | 9 | 6 | 7 | 3 | 6 | 11 | 7 | 10 | 1 | 1 | 1
METHOD OVERVIEW | [6 empty] | Not Applicable to Method | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Method Name: | [method name] |  |  | REVIEWER FEEDBACK BY CATEGORY |  |  | Unsure | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Test Method Description | [provide a brief description of the test method and its elements] |  |  | [group comments by section number] |  |  | Total | 20
OVERALL QUESTIONNAIRE COMPLETENESS This pie chart shows the total number of questions and the proportion that have been answered.
|  | Total Questions | 76
METHOD READINESS BY CRITERIA CATEGORY This bar graph shows each criteria category and the number of associated tasks completed by the method developer versus those still required to achieve method readiness. Numbers correspond to questionnaire sections. Sections 1-2 cover general developer information and provide an overview of the method. Sections 3 - 15 contain method-related tasks.
REVIEWER INFORMATION
|  |  |  | Date Reviewed: |  | [date reviewed]
|  |  |  | Reviewer Name: |  | [reviewer name]
|  |  |  | Email: |  | [reviewer email]
Answered
Not answered
Completed
Not Completed
Not Applicable to Method
Status of Method Development Tasks
Unsure
Number of Task-Related Questions
Criteria Category

## Template (hidden)
| Method Readiness Criteria Questionnaire |  |  |  |  | CAUTION: Resetting will clear the entered information and cannot be undone. We recommend saving a copy of the completed or partially completed form before proceeding.
Complete all fields below using the drop-down menus or by entering your response directly into the cell. Refer to the “Definition of Criteria” and “Additional Context for Questions” columns for guidance. “Essentiality” identifies the stage (i.e., before validation, at or during transfer, and at peer review) of validation associated with each criteria category.
Response Status | QUESTION Grouped by Overarching Criteria Category | RESPONSE Dropdown Selection | SUPPORTING INFORMATION Free-text Entry | Additional Context for Questions Reference Only ¦ No User Input | TASK STATUS Automated
1. Method Developer
Not Answered | Organization Name | [organization name]
Not Answered | Organization Address | [full mailing address including street address, city, state/province, postal code, and country]
Not Answered | Point of Contact (POC) | [poc name]
Not Answered | Phone Number | [poc phone number]
Not Answered | Email Address | [poc email]
Not Answered | Submitted By | [name of individual submitting questionnaire]
Not Answered | Date Submitted | [date questionnaire submitted]
2. Test Method Definition/Description:
| Definition of Criteria | A test method is usually composed of three elements: (i) test system, (ii) protocol, and (iii) prediction model, where applicable
Not Answered | Test Method Name | [method name]
Not Answered | Test Method Description | [provide a brief description of the test method and its elements]
3. Availability/Accessibility and International Consistency of Test Method Components
| Definition of Criteria | Test method components refer to biological material, plastic ware, instruments, reagents, culture media, protocols that are needed to perform the experimental procedure of the test method. The test method and/or its components can be commercially available or require agreements (e.g. material transfer agreement or licensing agreement).
| Essentiality | Before Validation
Not Answered | Have method components been defined? List components. |  | [list components] |  | Not Completed
Not Answered | Has the test system, cell type, platform, etc. been defined? List. |  | [list test system, cell type, platform, etc.] |  | Not Completed
Not Answered | Are method components available, accessible and consistent across geographic regions? Specify whether there is an IP involved. |  | [specify if there is an IP involved] | Essentiality: Before Validation This question applies to all aspects of the test method. Special attention should be drawn to availability of chemicals (controls and reference items), materials, reagents, test systems across countries and jurisdictions. International Consistency can be checked by asking the manufacturer. | Not Completed
Not Answered | Has the test method been optimized? |  | [add supporting information, as needed] | Essentiality: Before Validation | Not Completed
4. Intellectual Property
| Definition of Criteria | The test method and/or its components can be covered by intellectual property rights (IPR) such as a trademark or patent.
| Essentiality | Before Validation
Not Answered | Is the method or components covered by an IPR? What are the plans to make the test method available to the public? |  | [specify plans to make the test method available to the public] | OECD 298 Guiding Principles on Good Practices for the Availability/Distribution of Protected Elements in OECD Test Guidelines. Click to go to OECD Document " | Not Completed
5. Test System
| Definition of Criteria | The test system is the biological/chemical system that is exposed to the test items to obtain experimental data.
| Essentiality | Before Validation
5a. Basic information and quality control
Not Answered | Is the following information available: • supplier information and contact details • unique identifier (e.g., cell registry identifier, CASRN, RRID) |  | [specify information that is currently unavailable] | RRID = Research Resource Identifier | Not Completed
Not Answered | IN CHEMICO TEST SYSTEMS ONLY Is the following information available: • purity • compatibility with assay system |  | [list additional key information that is currently available or needed in the future] |  | Not Completed
Not Answered | CELL-BASED SOURCE MATERIAL Is the following information available, if applicable: • cell authentication • viability • genetic stability • mycoplasma testing • sterility testing (bacteria, virus, fungi) • primary donor cell/tissue (sex, age, health status) • cell/tissue of origin • isolation technique (primary cells) • differentiation status (hiPSCs and derivatives, primary cells) • morphology • cell-type specific marker expression • functional assessment (e.g., pluripotency, assessment for hiPSC) • mechanistic compatibility |  | [list applicable items and the status of information availability for each] | Source refers to the starting material used for the test system. It is good practice to authenticate cells on a regular basis and check their genetic stability (e.g., for each cell bank that is used for key studies). Sterility and mycoplasma testing should also be done periodically. | Not Completed
Not Answered | CELL-BASED TEST SYSTEMS THAT ARE DIFFERENT FROM THE ORIGINAL SOURCE Is the following information available, if applicable: • cell authentication • cell viability • cell genetic stability • mycoplasma testing • sterility testing (bacteria, virus, fungi) • type and method used for genetic modification (transgenic cells, clones) • reprogramming technique (hiPSC) • morphology • cell-type specific marker expression • compatibility testing of test system supplies • mechanistic compatibility |  | [list applicable items and the status of information availability for each] |  | Not Completed
5b. Characterization of test system that is used in the actual experiment
| Definition of Criteria | Characterization refers to the phenotypic and functional characterization of the test system, and is case-specific. Case 1 - When the test system that is used for the test method (exposure to the test items) is the same as the test system source, characterization is done on the starting material. Case 2 - When the test system that is used for the test method is different from the test system source, this characterization is done on the final test system. For example, if the source is hiPSC and the final test system exposed to the test item is an HPSC-derived neuron, then characterization would be done on the HPSC-derived neuron.
Not Answered | Is the test system well-defined and characterized, with decision criteria on usability of the test system at delivery, prior to exposure, following exposure? |  | [specify primary analytical methods and LODs and provide citation if available] | Essentiality: Before Validation Biological feature is for example specific cell type marker. Biological response is for example the expression of a protein after exposure to a test item. | Not Completed
Not Answered | Are the biological features maintained over time?? |  | [list all technical artifacts and how each is mitigated] | Over time may refer to cell passages, independent biological experiments, etc. | Not Completed
Not Answered | Is the functionality consistent over time (e.g., through reference and control items)? |  | [specify precision metric and provide citation if available] | A wild-type cell is the cell without a genetic modification. It is used to show that the genetically modified cell line has the required functionality and the wild type cell doesn’t. | Not Completed
5c. Acceptance criteria for the test system
| Definition of Criteria | Acceptance criteria are qualitative and quantitative requirements for the test system to be used in the method.
Not Answered | Have acceptance criteria been defined for the test system before compound exposure? List acceptance criteria and include publication information, if available. |  | [list acceptance criteria and include publication information, if available] | Examples of acceptance criteria include minimum concentration, density, cell viability, activity/functionality, cell marker expression, negative for mycoplasma and/or other microbial contaminants, free of genetic abnormalities, correct cytoarchitecture, etc. Batch release information from the supplier may be used as acceptance criteria. | Not Completed
5d. Metabolic competence
| Definition of Criteria | Metabolic competence refers to the capacity of the test system to metabolize test items
Not Answered | Has the endogenous metabolic competence of the test system been characterized? Specify whether the test system includes a metabolic component. |  | [specify whether the test systems includes a metabolic component] | It is important to know the metabolic competence of the test system because there are test items that can be metabolized into more or less active forms. Usually the expression and activity of phase I (e.g. CYP450) and phase II (e.g. UGT, SULT) enzymes are checked. | Not Completed
6. Control and Reference Items
| Definition of Criteria | Control items are used to assess that the test system responds consistently across experiments and time. Eventually control items are used to establish the maximum response by the test system for data normalization. At minimum, a test method should contain a positive, negative, and/or vehicle control. A method could also include one or more reference items. See OECD Guidance Document on Good In Vitro Method Practices (GIVIMP). Click to go to OECD document "
| Essentiality | Before Validation
Not Answered | Have positive and negative controls been defined and characterized? What are the positive, negative, and/or vehicle controls? |  | [specify positive, negative, and/or vehicle controls and the characterization status of each, if available] | Essentiality: Before Validation Controls need to be well-characterized with respect to their physical chemical properties and variability in response by the test system. Chemicals used as controls should be stable during storage, handling, and testing. For example, controls should not be volatile, oxidized, reactive with water, etc. Unstable or reactive chemicals could increase variability in results within and between laboratories. | Not Completed
Not Answered | Is the selection of the positive, negative, and vehicle controls justified? |  | [add justification for the selection of each control] |  | Not Completed
Not Answered | Are any of the positive, negative, and/or vehicle controls potentially hazardous? If yes, list hazards for each control. |  | [add potential hazards for each control, as applicable] | Hazards of the control items should be known. It is recommended that extremely hazardous chemicals, persistent organic pollutants, and other test items are avoided where possible. | Not Completed
Not Answered | Are positive, negative, and/or vehicle controls performed with every test and included during each testing? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Has the solubility and potential precipitation of each test item/substance been evaluated over time? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | TEST SYSTEMS WITH PRESERVED METABOLIC ACTIVITY Do positive controls include haptens and/or pre-haptens? |  | [specify haptens and pre-haptens, as applicable] |  | Not Completed
7. Acceptance Criteria for Results
| Definition of Criteria | Acceptance criteria are typically limits set for the maximum/minimum response or ranges within which the test systems response should fall, to confirm the correct functioning of the test system and validity of experiments and test results. Acceptance criteria can be established when sufficient historical data have been generated with the test method and its controls.
| Essentiality | At or During Transfer
Not Answered | Have acceptance criteria for results been defined? |  | [specify acceptance criteria] | Acceptance criteria may be established for the response of the test system after exposure to reference and control items, for background response, for dynamic range and variability of replicate measurements. | Not Completed
Not Answered | Are acceptance criteria defined for dynamic range? |  | [add supporting information, as needed] | The dynamic range of a method is the difference between maximum and minimum response of the test system (usually response to solvent control and highest concentration of the reference item). | Not Completed
Not Answered | Are acceptance criteria based on normalized data? |  | [add supporting information, as needed] | Acceptance criteria are usually set using normalized data. | Not Completed
Not Answered | Are periodic evaluations of the test system performed? |  | [specify how often evaluations are performed] |  | Not Completed
Not Answered | Have cell viability criteria been established? |  | [specify viability criteria] |  | Not Completed
Not Answered | Are negative controls within the historical parameters for the test system? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Are positive controls based on a relative increase versus the positive control based solely on statistical trends? |  | [add supporting information, as needed] | Essentiality: At or During Transfer | Not Completed
8. Identification of Critical Steps and/or Key Sources of Variability
| Essentiality | Before Validation
Not Answered | Have critical steps (that may influence the results) and sources of variability been identified? |  | [specify whether a graphical workflow of the test method is available] | Essentiality: Before Validation The overview of the method is ideally presented with a graphical workflow showing a complete sequence of events including endpoint assessment and prediction model/data interpretation procedure application. | Not Completed
Not Answered | Has batch-to-batch variability been assessed for any of the test methods? |  | [list components with batch-to-batch variability data] |  | Not Completed
Not Answered | Could the batch variability for any of the test method components (e.g., microsomes, antibodies, serum) impact the test results? If yes, how is this variability addressed? |  | [specify how batch variability is addressed] |  | Not Completed
9. Detailed Protocol and Standard Operating Procedures (SOP)
| Definition of Criteria | A detailed protocol includes a method description, consumables, chemicals, reagents and equipment needed to perform the method, a detailed description of the experimental procedure, and a procedure for data analysis, calculation of results and reporting. A detailed protocol should be test facility independent, to the extent possible, to facilitate its transfer to other laboratories, e.g. equipment that is not critical should be described in general terms in the protocol to allow different facilities to use different equipment to make the same measurements. Critical steps should be clearly identified and thoroughly described. A test facility should then define a set of Standard Operating Procedures (SOPs) implementing the detailed protocol in its specific environment.
| Essentiality | Before Validation
Not Answered | Is there a detailed protocol for the test method? |  | [add supporting information, as needed] | Essentiality: Before Validation The overview of the method is ideally presented with a graphical workflow showing a complete sequence of events including endpoint assessment and prediction model/data interpretation procedure application. | Not Completed
Not Answered | Are the following points of method descriptions covered: • principle of the method and overview of procedural steps to perform the complete method • scientific rationale for the selection of the endpoints • known limitations and possible interference with test results • key references |  | [specify points that are not currently covered] | For the controls it is important that the protocol is clear about their identity and why they are included. | Not Completed
Not Answered | Are the following points related to consumables, chemicals, reagents specified: • specific requirements; preparation, storage and shelf life of freshly prepared reagents/solutions • CAS numbers of chemicals and procedure for preparation, storage and quality control of reagents • unique identifier and catalogue numbers / supplier information for all consumables, chemicals and reagents • positive and negative control items and any other controls • preparation of stock and work solutions of control (and reference) items • acceptable solvents and their maximum concentrations • detailed description for the preparation of the test system for use in the method • composition of medium / reagents for test system maintenance • information on routine maintenance and handling of the test system; purity information |  | [specify points that are not currently covered] | Example of test system description and functioning: U2OS cells genetically modified to express the human androgen receptor and a luciferase reporter gene. Chemicals binding to and activating the receptor will initiate luciferase production in the cells. During incubation, luciferase will transform luciferin into oxy-luciferin and light that can be measured with a luminescence plate reader. For example, maintenance of a cell-based test system includes basic cell culture procedures, storage conditions (e.g. freezing temperature), culture conditions (e.g. incubation temperature, CO2 concentration, humidity).Example of equipment specifications: The equipment should have specific filters, lasers, injectors etc. Examples of instrument qualifications / validation of analytical procedures are found in Annex 4 in TG 439 and Annex 7 in TG 492. Click to go to Test Guideline (TG) " | Not Completed
Not Answered | TEST SYSTEMS USING FLOW CYTOMETRY Are single stained and unstained cells used as control with each test run? |  | [add supporting information, as needed] | Preparation of the test system for use in the method refers to the creation (from the original source material) of the test system as then used in the method (e.g. dilution, differentiation of cells, preparation of microtissues, etc.). Examples of preparation of a test system: • hiPSCs constitute the original cell source that must be "prepared", i.e., differentiated to neurons. The neurons are the actual test system. • a sub-cellular fraction might need dilution before use on basis of protein concentration or activity Components of media, such as serum, pH indicators, proteins, hormones etc. can influence the test system performance and should be known. | Not Completed
Not Answered | Are the following points described in detail in the experimental procedures, if applicable or established? • procedure for selection of the solvent • procedure for selection of the test item dose range, including solubility and cytotoxicity testing (where applicable) • requirements for the generation of proper dose-response information (where applicable) • highest concentration to be prepared (when soluble) • procedure for preparation of test items for application to the test system • procedure for preparation and testing of control (and reference) items • experimental layout, including all controls, number of technical • replicates per concentration • procedure for exposure/dosing • duration of exposure • incubation conditions (temperature, humidity, CO2 concentration) • acceptable ranges for e.g. exposure time, incubation temperature and other variables • procedure and conditions for measuring the endpoint and acquiring data |  | [specify points that are not currently described or established] | For the controls it is important that the protocol is clear about how the results should be used. Biological replicates are experiment performed on different time points, with freshly prepared test system (e.g. new solution, different passage number, different batch) and solutions. | Not Completed
Not Answered | Are the following points described in detail for data analysis, calculation of results and reporting? • raw data to be recorded • description of eventual software to be used for data analysis, including its version • procedure for processing data from control, reference and test items, including all the necessary equations and calculations (e.g. dose response equation, EC or IC values) • acceptance criteria for experiments and test results • number of biological replicates needed to derive a result/prediction • data interpretation procedure / prediction model (if applicable) • a detailed statistical analysis plan (if applicable) • procedure for reporting of results |  | [specify points that are not currently described, including whether a detailed statistical analysis plan is established] | For the controls it is important that the protocol is clear about how they should be prepared. Technical replicates are the number of replicates per test item concentration within the same experiment. An acceptable range for incubation time could be for example 20h +/- 1h. The procedure for performing the method could also include any procedure to be performed prior to the test to verify that the experimental setup is consistent with historical data, e.g. periodically run an iodide standard curve to confirm the correct functioning of the Sandell Kolthoff reaction. | Not Completed
10. Data Management, Evaluation, and Interpretation
| Essentiality | Before Validation
10a. Data management
Not Answered | Is documentation or recommendations on data formats provided? |  | [add supporting information, as needed] | Raw data are the data as obtained from the instrument and/or operator. Example: Providing proper metadata for image acquisition and analysis optimize data sharing, comparison and interpretation, and re-usability | Not Completed
Not Answered | Are open standards used to store data? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Are data stored according to FAIR standards? |  | [add supporting information, as needed] | Example: Depositing omics based data in a data repository (e.g., Gene Expression Omnibus (GEO)) Click to go to website " | Not Completed
Not Answered | Is there a standardized format for collecting data (e.g. a validated spreadsheet, calculator, etc.)? |  | [add supporting information, as needed] | OECD Omics Reporting Framework (OORF): Guidance on reporting elements for the regulatory use of omics data from laboratory‑based toxicology studies. Click to go to OECD Document " | Not Completed
Not Answered | Are all data produced for test, control and reference items, from both valid and non-valid tests / runs / experiments recorded? |  | [add supporting information, as needed] | Non-valid tests / runs / experiments are those that do not meet the test method’s acceptance criteria. | Not Completed
Not Answered | Is there a protocol for handling equivocal results? |  | [add supporting information, as needed] |  | Not Completed
10b. Data processing
Not Answered | DOSE-RESPONSE DATA Is there a detailed procedure for curve-fitting? |  | [add supporting information, as needed] | Typically an excel template is prepared for the collection and automatic calculation of results from the raw data. These templates should be properly validated before use to ensure their correct output and to avoid uncontrolled modifications | Not Completed
Not Answered | Is there a method for outlier analysis? |  | [specify method] | Typically an excel template is prepared for the collection and automatic calculation of results from the raw data. These templates should be properly validated before use to ensure their correct output and to avoid uncontrolled modifications | Not Completed
10c. Prediction model (PM) / data interpretation procedure (DIP)
Not Answered | Is there a PM/DIP to decide if a test item is active/positive or inactive/negative for the mechanistic endpoint(s) covered by the method? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Is there a PM/DIP to predict a regulatory endpoint from the collected data? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Is there a clear cut-off for positive results? |  | [add supporting information, as needed] |  | Not Completed
11. Test Method Reliability, Reproducibility, and Repeatability
11a. Training
| Essentiality | At or During Transfer
Not Answered | Has a training protocol been developed? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | Have other labs (excluding developer lab) been trained? |  | [specify points that are not currently covered] |  | Not Completed
11b. Chemicals / test item selection for reliability assessment
| Essentiality | At Peer Review
Not Answered | Is the number of chemicals used for assessing between lab reproducibility (BLR) and within lab reproducibility (WLR) justified and adequate? |  | [include justification for chemical number] | The number and type of chemicals used for training, transferability and the assessment of reproducibility depends e.g. on statistical considerations (e.g. power calculations), representativeness of phys-chem properties and difficult to test chemicals. Chemical selection should ensure that critical parts of the protocol are covered during training, transferability and reproducibility assessment (e.g. chemicals that interfere with the endpoint measurement and for which corrective measures are described in the protocol). The use of the same chemicals in different phases of test method development and validation, as described below, should be avoided to the extent possible: 1.Chemicals used for developing and optimizing the test method (protocol and prediction model) should not be selected for assessing its within-laboratory reproducibility, between-laboratory reproducibility and predictive capacity. 2. Different chemicals should be used for: • training laboratories on the test method, • assessing the transferability of the test method to other laboratories and, • assessing the test method's within-laboratory reproducibility, between-laboratory reproducibility and predictive capacity | Not Completed
11c. Transferability
| Essentiality | At Peer Review
Not Answered | Has transferability been demonstrated in at least one lab (excluding developer lab)? |  | [add supporting information, as needed] | The transferability of the method should be assessed before between lab reproducibility (BLR). This is typically done first by checking that the acceptance criteria of the method can be met by the transfer laboratory, followed by the testing of test items for which the method developer has historical data. | Not Completed
11d. Within lab reproducibility (WLR)
| Essentiality | Before Validation
Not Answered | Has reproducibility within the lab been demonstrated? |  | [add supporting information, as needed] |  | Not Completed
11e. Between lab reproducibility (BLR)
| Essentiality | Before Validation
Not Answered | Has reproducibility within a qualified lab been demonstrated? |  | [add supporting information, as needed] | BLR data could be obtained from multiple transferability studies rather than a single ring trial study. A qualified laboratory is one that has proven proficiency in performing the test method as determined through training and transferability. | Not Completed
11f. Repeatability of Control and Reference Items
| Definition of Criteria | Repeatability refers to the extent to which the test system models or reproduces the biological properties of target organ / system or species of interest (e.g. mechanism of action, cell types, cyto-architecture) in view of current scientific knowledge.
| Essentiality | Before Validation
Not Answered | Has reproducibility between labs been demonstrated? |  | [add supporting information, as needed] | It is recommended to keep all historical data, so that robust acceptance criteria can be developed and updated. | Not Completed
12. Test Method Relevance
12a. Biological relevance of the test system
| Definition of Criteria | Biological relevance relates to the extent to which the test system models or reproduces the biological properties of target organ / system or species of interest (e.g. mechanism of action, cell types, cyto-architecture) in view of current scientific knowledge.
| Essentiality | Before Validation
Not Answered | Is the method relevant to humans? How? |  | [describe human relevance] |  | Not Completed
Not Answered | Is the exposure pathway considered? |  | [specify exposure pathway] |  | Not Completed
12b. Mechanistic relevance of the endpoint(s) measured
| Definition of Criteria | Mechanistic relevance to the extent to which the endpoints measured relate to an adverse outcome pathway (AOP), or to known mechanisms of toxicity / perturbation of important biological processes that lead to an adverse effect
| Essentiality | Before Validation
Not Answered | Is the mechanistic pathway addressed by the test method defined? |  | [specify the mechanistic pathway addressed] |  | Not Completed
Not Answered | Are respiratory sensitization-specific markers or characteristics included in the response model? |  | [specify specific markers or characteristics] | In order for a mechanistic endpoint to be considered relevant, there should be a sufficient amount of test items that trigger the endpoint in the method. | Not Completed
12c. Regulatory relevance
| Definition of Criteria | Regulatory relevance is based on the degree to which the biology covered by the test system and the mechanisms covered by the measured endpoints are relevant to address a regulatory concern.
| Essentiality | Before Validation
Not Answered | Are the biology and mechanisms covered by the test method relevant to address a regulatory concern? |  | [add supporting information, as needed] |  | Not Completed
12d. Regulatory use / application
| Definition of Criteria | Regulatory use / application is based on whether the information provided by the method has a clear regulatory application, i.e. it satisfies an existing regulatory requirement either stand alone or in combination with other information sources via a defined approach or an integrated approach to testing and assessment.
| Essentiality | Before Validation
Not Answered | Is the test method meant to be used with other methods or an Integrated Approaches to Testing and Assessment (IATA)? |  | [add supporting information, as needed] |  | Not Completed
Not Answered | What is the purpose or use of model results? |  | [add supporting information, as needed] |  | Not Completed
12e. Chemical / test item selection for relevance assessment
| Essentiality | Before Validation and At Peer Review
Not Answered | Are reference chemicals selected for the test method? If yes, specify why these chemicals were selected and the evidence behind each. |  | [specify why reference chemicals were selected and the evidence behind each] |  | Not Completed
Not Answered | Are adequate reference chemicals provided to demonstrate correct detection / discrimination of respiratory sensitizers, respiratory irritants, and dermal sensitizers? |  | [add supporting information, as needed] | The number of chemicals used for the assessment of predictive capacity depends on the purpose of the method (e.g. stand alone, combination with other methods), on the availability of reference data and on statistical considerations (e.g. power calculations). | Not Completed
Not Answered | Have chemicals for relevance assessment been justified? |  | [add supporting information, as needed] |  | Not Completed
13. Predictive Capacity
| Definition of Criteria | Predictive capacity refers to the ability of the test method to make correct predictions of an (toxic) effect of interest. It includes accuracy, specificity and sensitivity of the method.
| Essentiality | At Peer Review
Not Answered | Has the predictive capacity of the test method been demonstrated? |  | [add values for accuracy, specificity, and sensitivity, if available] |  | Not Completed
14. Limitations and Applicability Domain
| Definition of Criteria | The applicability domain is a description of the physicochemical or other properties of the substances for which a test method is applicable for use. For a test method it is mainly defined by its known technical, mechanistic and predictive limitations.
| Essentiality | At Peer Review
Not Answered | Has the test method's limitations and applicability domain been described? |  | [add supporting information, as needed] | Example: a mechanistic limitation is known for KeratinoSens and LuSens test methods where chemicals that purely act through lysine haptenation are outside the applicability domain. | Not Completed
15.Uncertainties
| Essentiality | At Peer Review
Not Answered | Are there any uncertainties in the test method or its predictions? |  | [add supporting information, as needed] | Example: gaps in biological knowledge, relevance and variability of reference data, differences between the test system and the mimicked human or wildlife tissue, interspecies differences including kinetics, limited mechanistic coverage. | Not Completed
16. Data Integrity and Quality Assurance (information is not needed at this time)
End of Questionnaire
Click to reset questionnaire
Test Guideline 439
Test Guideline 492
OECD 298
OECD Framework
NCBI GEO
GIVIMP